Lab #2

Isocitrate Dehydrogenase: Measurement of IDH Activity

Assigned Reading:		“Enzymes…” pp. 102-106 Stop @ "Molecular Structure. . ."

Pg. 116, Fig 7.3 [reduction of NAD+]

Bring a calculator to lab

Goals of this exercise:

With this session, we begin a three week study and discussion of some of the properties of NADP+-dependent IDH.  The goals of these laboratory sessions are:

1.  Learn spectrophotometric analyses of enzyme activity.

2.  Determine how the amount of enzyme in the assay affects the rate of

activity.

3.  Determine how the amount of substrate in the assay mixture affects rates

of activity of an enzyme.

4.  Determine the effects of environmental conditions on enzyme activity.

5.  Learn how to organize our data into tabular and graphic form.

I. Introduction

Enzymes are biological catalysts with remarkable power, increasing reaction rates by at least a million-fold.  They increase reaction rates by lowering activation energies, allowing chemical reactions to proceed under physiological conditions.  Enzymes are highly specific as to substrates and reactions catalyzed.  They are usually proteins, although some enzymes are other types of biological molecules.  Enzymes function best in dilute aqueous solutions under limited conditions of temperature, pH and salt concentration.  Some enzymes require one or more non-protein components called “coenzymes” and “cofactors”; a coenzyme is an organic molecule, while a cofactor may be a metal ion.  Some enzymes simultaneously require both a cofactor and a coenzyme.  Isocitrate dehydrogenase [IDH] is one of these enzymes, requiring both NADP+ as a coenzyme and Mg2+ or Mn2+ as a divalent metal cofactor,

IDH is a ubiquitous enzyme found in all living organisms and has two catalytic activities (Figure 1).  As its name implies, IDH removes hydrogens from its substrate, isocitrate.  In addition, it is a decarboxylase, removing a CO2 from the six-carbon substrate to generate a five-carbon product, -ketoglutarate .

Figure 1.  IDH catalyzes the sequential dehydrogenation and decarboxylation of isocitrate to ketoglutarate.

Two distinct forms of IDH are found in higher organisms.  They differ in their distribution within the cell and in their coenzyme requirements.  The soluble form of IDH requires NADP+ as its coenzyme (Figure 2).  This NADP+-dependent form of IDH is considered to be the only IDH in bacteria and is the most prevalent form of IDH in most plants and animals.  In higher organisms, this form of IDH appears to be found in all organs and tissues. This form of IDH is used in lipid synthesis. The NAD+-dependent form of IDH is limited to eukaryotic organisms and is localized in mitochondria.  You may be familiar with this form of IDH from previous study of the Krebs cycle.  Both forms of IDH require a divalent metal ion.

Figure 2.  The molecular structure of  NADP+.  The active site is where the hydrogen atom will be added to convert NADP+ to NADPH.  In NAD+, the phosphate group is replaced with an H+.  This diagram illustrates what the letters N-A-D-P represent.

NEWS ITEMS: In June, 1996, a team of researchers found a species of voles that was resistant to mutations caused by radiation. When they analyzed their cells, they found that the voles had elevated levels of IDH, which they believe is protecting them from radiation-induced mutations.  (See summary in Science. Vol 273. 19 July, 1996)

NADP+-dependent IDH activity is especially high in cardiac tissue and is often monitored in the blood of heart attack patients.  Detectable IDH activity in the arterial blood suggests severe tissue damage with leakage of the soluble (cytosolic) IDH into the blood system.

Protocols

IDH activity routinely is measured using a spectrophotometer to monitor the reduction of NADP+ to NADPH.  While performing assays, the spectrophotometer is set at 340 nm, the absorption maximum of NADPH (and results from last week’s lab).  Assays are performed at a standard temperature, usually 25°C to 30°C.

Before a scientist begins an experiment, he or she must first define a problem and suggest possible explanations based upon previous knowledge or observations.  In other words, develop an hypothesis, which might be considered an “educated guess” or a tentative explanation as to the cause and effects relating to that problem.  A good hypothesis is one that is testable and fosters predictions that consider one variable at a time.  The hypothesis may turn out to be incorrect, but it is a good hypothesis if it can be tested.  In fact, an hypothesis that cannot be tested is useless to science - it may be good philosophy, but not good science.  Hypotheses can not be proven to be correct - they may be tested extensively and rigorously and they may be proven to be incorrect, but an hypothesis can never be proven to be true.

A scientist must first define a problem and then develop an hypothesis.  Next one must devise predictions that will hold, or will not hold, if the hypothesis were true.  These predictions lead to experiments.  Many experiments may be possible, and all may be tried eventually; however, it is important to perform one discrete experiment at a time.  After designing an experiment, our scientist must outline a series of logical procedures to be completed in the laboratory or in the field.  This written sequence of steps is called a protocol. A well-planned protocol will include the following elements:

1.  An outline of the sequence of detailed procedures.

2. Calculations of volumes, concentrations, etc., of all reagents to be used.

3. Tables constructed for recording data.

4.  Procedures for testing and organizing data for presentation

Experiment 1.  How to Perform IDH Assays

Hypothesis 1: A successful assay for IDH activity simultaneously requires the enzyme (IDH), the substrate (isocitrate), and the cofactor (NADP+).

Hypothesis 2: Under ideal conditions, IDH activity will be linear for at least three minutes.

To test your hypotheses, you will need to set up assays as in Table 1.  You should ask yourself “What is the purpose of each assay?”  You also should ask why Assays 5 - 7 are identical.

Table 1: How to perform IDH assays.

| Wells | Buffer | NADP+ | IDH | Isocitrate |
| --- | --- | --- | --- | --- |
| A 1 | 200 | 0 | 0 | 0 |
| A 2 | 180 | 10 | 10 | 0 |
| A 3 | 180 | 10 | 0 | 10 |
| A 4 | 180 | 0 | 10 | 10 |
| A 5 | 170 | 10 | 10 | 10 |
| A 6 | 170 | 10 | 10 | 10 |
| A 7 | 170 | 10 | 10 | 10 |

All volumes are in µl.  In this experiment, you will initiate the reactions by adding 10 µl of isocitrate solution as the last step. You will use a multi-tip pipet, at the plate reader, to add isocitrate to all wells.

Step-by-Step Procedure

1. Use the P-200 micropipet to add Assay Buffer to the indicated wells.

2.  Use the P-20 micropipet to add 10 µl of NADP+ to all wells, except A1 and A4.

3.  Use the P-20 micropipet to add 10 µl of IDH to all wells, except A1 and A3.

4.  Place the microplate in chamber of the plate reader.

5.  Use the Multi-8 micropipet to add 10 µl of isocitrate to all wells, except A1 and A2.

6.  Activate the plate reader and use Analysis 7.

7.  After printing, remove your plate from the plate reader.

8.  Retrieve your data from the printer.

9.  Return to your station and organize your data in the Table 1a (below).

10.  Prepare a graph of your data.

Table 1a: Data from triplicate IDH assays.

| Time, min | Well A1 | Well A2 | Well A3 | Well A4 | Well A5 | Well A6 | Well A7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 0 |  |  |  |  |  |  |  |
| 0.5 |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |
| 1.5 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 2.5 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |

Considerations - Experiment 1

Compare your data from wells A1 through A7.  Was there activity in wells A1 - A4?   Was there activity in wells A5 - A7?  Was activity the same in wells A5 - A7?  Was activity linear for three minutes?  If not, explain your observations.  Do your data support your hypotheses?  If not, how will you change the protocol? Determine the “corrected” reading for each assay by subtracting the reading of the “control”, well A1 from the other readings.  (Would well A2, A3 or A4 provide better “control” data?)

Construct a graph that visually portrays your data from wells A2 - A7 by plotting absorbance as a function of time (in minutes).  The initial rate of a reaction may be determined from the slope of the line joining each successive point. This graph will be graph 1.

Use the directions for Excel in Appendix A in the back of the lab manual.

Experiment 2.  Effects Of Varying Enzyme Concentration

Problem: What is the relationship between the rate of a reaction and the amount of enzyme in the assay solution when substrate and coenzyme are abundant (non-limiting)?  This question might become “In subsequent experiments, how much enzyme solution should I use in each assay?”

Hypothesis:  IDH activity will vary directly with the amount of enzyme in each assay.

To test this hypothesis, you will need to follow a protocol that holds all conditions constant except the amount of enzyme added to each assay.  All tests should be run more than once; routinely, enzyme assays are run “in triplicate”.  For example, wells B 1, B 2 and B 3 in Table 2 are triplicate assays containing 5 µl of IDH. Set up reactions as shown in Table 2.

Table 2: The effects of varying enzyme amounts.

| Wells | Buffer | NADP+ | IDH | Isocitrate |
| --- | --- | --- | --- | --- |
| B 1-3 | 175 | 10 | 5 | 10 |
| B 4-6 | 170 | 10 | 10 | 10 |
| C 1-3 | 160 | 10 | 20 | 10 |
| C 4-6 | 150 | 10 | 30 | 10 |
| C 7-9 | 180 | 10 | 0 | 10 |

Procedure

1.  Use the P-200 micropipet to add Assay Buffer to the indicated wells.

2.  Use the Multi-8 micropipet to add 10 µl of NADP+ to all wells.

3.  Use the correct micropipettor to add appropriate volume of IDH to each well.

4.  Place the microplate in chamber of the plate reader.

5.  Use the Multi-8 micropipet to 10 µl of isocitrate to the wells.

6.  Activate the plate reader.

7.  After printing, remove your plate from the plate reader.

8.  Retrieve your data from the printer.

9.  Return to your station and organize your data in Table 2a (below).

10.  Prepare a graph of your data.

Table 2a: Data from varied enzyme amounts.

| Time, min | 5 (l of IDH | 10 (l of IDH | 20 (l of IDH | 30 (l of IDH | 0 (l of IDH |
| --- | --- | --- | --- | --- | --- |
| 0 |  |  |  |  |  |
| 0.5 |  |  |  |  |  |
| 1 |  |  |  |  |  |
| 1.5 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 2.5 |  |  |  |  |  |
| 3 |  |  |  |  |  |

Considerations - Experiment 2

Compare the data from wells B1 through C3.  Was there activity in all wells?  Did activity vary with the amount of enzyme in each assay?  Was activity the same in the three wells with the same amount of enzyme?  Was activity linear for the first three minutes for each volume of enzyme?  If not, explain your observations. Do your data support your hypothesis?

Determine the mean activity for each set of triplicate assays.  Construct a graph to portray your data.  Compare activity with the volume of enzyme in the assay solution.   [Hint - take advantage of Excel’s ability to generate a formula for the best fit line: y = mx + b; b is the Y intercept and m is the slope or change in absorbance over time which is the definition of activity.] This graph will be graph 2A.

Construct another graph that compares volume of enzyme the slope of the three lines (slope equals enzyme activity) from your previous graph. You may use the table below to collect and organize the data.  This new graph will be graph 2B. What conclusions can you reach from your results?

| Volume of IDH ((l) | Slope | r squared value |
| --- | --- | --- |
| 0 |  |  |
| 5 |  |  |
| 10 |  |  |
| 20 |  |  |
| 30 |  |  |

Experiment 3.  Effects Of Varying Isocitrate Concentration

Problem:  What is the relationship between the rate of a reaction and the amount of isocitrate in the assay solution when the amounts of IDH and NADP+ in the assay are held constant?  Before you start this experiment, develop an hypothesis and sketch a graph predicting the relationship of activity vs. isocitrate concentration.

Procedure:  To test your hypothesis, you will need to follow a protocol that holds all conditions constant except the amount of isocitrate added to each assay.  Table 3 outlines such a protocol using five concentrations of isocitrate.  Each concentration is tested in triplicate.  Add reagents to your wells as listed from left to right.

Table 3: The effects of varying isocitrate concentration.

|  |  |  |  | Isocitrate |
| --- | --- | --- | --- | --- |
| Wells | Buffer | IDH | NADP+ | Sol* Vol |
| E 1-3 | 170 | 10 | 10 | 1 10 |
| E 4-6 | 170 | 10 | 10 | 2 10 |
| F 1-3 | 170 | 10 | 10 | 3 10 |
| F 4-6 | 170 | 10 | 10 | 4 10 |
| G 1-3 | 180 | 10 | 10 | - 0 |
| G 4-6 | 190 | 0 | 10 | - 0 |

*The concentration of these isocitrate solutions will be provided by the instructor.  The second number refers to the volume (µl) to be used.

Procedure

1.  Use the P-200 micropipet to add Assay Buffer to the indicated wells.

2.  Use the P-20 micropipet to add 10 µl of the different concentrations of isocitrate to the wells,

as indicated.

3.  Use the Multi-8 micropipet to add 10 µl of NADP+ to all wells.

4.  Place the microplate in chamber of the plate reader.

5. Use the Multi-8 micropipet to add 10 µl of IDH to all wells.

6.  Activate the plate reader.

7.  After printing, remove your plate from the plate reader.

8.  Retrieve your data from the printer.

9.  Return to your station and organize your data in Table 3a (below).

10.  Prepare a graph of your data.

Table 3a: Data from varied isocitrate concentrations.

| Time, min | ____mM | ____mM | ____mM | ____mM | ____mM |
| --- | --- | --- | --- | --- | --- |
| 0 |  |  |  |  |  |
| 0.5 |  |  |  |  |  |
| 1 |  |  |  |  |  |
| 1.5 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 2.5 |  |  |  |  |  |
| 3 |  |  |  |  |  |

Considerations - Experiment 3

Compare the data from your experiment.  Determine the activity for each concentration of isocitrate by constructing a graph and generating the best-fit lines and equations – this graph will be graph 3A. Next, construct a graph that compares activity as a function of isocitrate concentration.  This graph will be graph 3B. Do your data support your hypothesis?  Is the relationship between activity and concentration of substrate linear?  Explain this relationship, referring to graphs 3A and 3B.

Preparation for Next Week’s Lab:

In next week’s lab, we will study the effects of environmental conditions on enzyme activity.  Each group of students will design an experimental protocol to address one of the following questions:

1.  What are the effects of temperature on the stability of IDH?

2.  What are the effects of pH of the assay solution?

3.  What are the effects of NADP+ concentration?

4.  What are the effects of different divalent metal ions?

5.  What are the effects of varying salt concentrations?

6.  Which species or tissues have the most activity?

Before leaving lab today, each group will complete the following:

1. Develop a clear, concise and simple hypothesis about the effects of one of the above

environmental conditions upon enzyme activity.

2. Design an experiment to test that hypothesis.

3. Prepare a protocol to carry out that experiment.